## LABOUR RATES AND TRANSPORT
| DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | LABOUR RATES AND TRANSPORT
1.1 | labour prices to apply for a normal working hours on week days:
08h00 – 16h00
1.1.1 | SUPERVISOR | / call | 1 | 0 | 0
1.1.2 | ELECTRICAL TECHNICIAN / TEST TECHNICIAN | / call | 1 | 0 | 0
1.1.3 | ELECTRICIAN | / call | 1 | 0 | 0
1.1.4 | LINESMAN - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.1.5 | POLE PLANTER / DRIVER | / call | 1 | 0 | 0
1.1.6 | CABLE JOINTER - SPECIFICALLAY TRAINED | / call | 1 | 0 | 0
1.1.7 | CABLE LAYER - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.1.8 | LABOURER | / call | 1 | 0 | 0
1.2
Labour prices to apply for overtime working hours on week days: 16h00 – 07h00 and Saturday.
1.2.1 | SUPERVISOR | / call | 1 | 0 | 0
1.2.2 | ELECTRICAL TECHNICIAN / TEST TECHNICIAN | / call | 1 | 0 | 0
1.2.3 | ELECTRICIAN | / call | 1 | 0 | 0
1.2.4 | LINESMAN - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.2.5 | POLE PLANTER / DRVER | / call | 1 | 0 | 0
1.2.6 | CABLE JOINTER - SPECIFICALLAY TRAINED | / call | 1 | 0 | 0
1.2.7 | CABLE LAYER - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.2.8 | LABOURER | / call | 1 | 0 | 0
1.3 | labour prices to apply for overtime working hours on Sundays and public holidays.
1.3.1 | SUPERVISOR | / call | 1 | 0 | 0
1.3.2 | ELECTRICAL TECHNICIAN / TEST TECHNICIAN | / call | 1 | 0 | 0
1.3.3 | ELECTRICIAN | / call | 1 | 0 | 0
1.3.4 | LINESMAN - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.3.5 | POLE PLANTER / DRIVER | / call | 1 | 0 | 0
1.3.6 | CABLE JOINTER - SPECIFICALLAY TRAINED | / call | 1 | 0 | 0
1.3.7 | CABLE LAYER - SPECIFICALLY TRAINED | / call | 1 | 0 | 0
1.3.8 | SKILLED LABOUR / ELECTRICAL ASSISTANT | / call | 1 | 0 | 0
1.4 | SITE VISIT ASSESSMENT Check scope, take-off, | per taskorder | 1 | 0 | 0
1.6 | TRANSPORT
1.6.1 | transport prices to apply for a days work
1.6.1.1 | VEHICLE UP TO 1 TON | / HR | 1 | 0 | 0
1.6.1.2 | VEHICLE UP TO 3 TON | /HR | 1 | 0 | 0
1.6.1.3 | VEHICLE UP TO 8 TON WITH CRANE TO SUIT | /HR | 1 | 0 | 0
1.6.1.4 | VEHICLE UP TO 10 TON WITH CRANE TO SUIT | /HR | 1 | 0 | 0
1.6.1.5 | VEHICLE UP TO 20 TON WITH CRANE TO SUIT | /HR | 1 | 0 | 0
1.6.1.6 | CHERRY-PICKER | /HR | 1 | 0 | 0
1.6.1.7 | LONG WHEEL BASE 4X4 VEHICLE | /HR | 1 | 0 | 0
1.6.1.8 | COMPRESSOR AND ITS ASSOCIATED EQUIPMENT | /HR | 1 | 0 | 0
1.6.1.9 | WATER PUMP | /HR | 1 | 0 | 0
1.6.1.10 | SAW CUTTING TARRED SURFACE | per day | 1 | 0 | 0
|  |  |  | TOTAL | 0

## EXCAVATION
|  | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
| 2 | EXCAVATIONS
| 2.1 | UNDERGROUND MAIN - UGM - MV CABLES
| 2.1.1 | trenching and backfilling in hard rock – compressor
| 2.1.1.1 | 600MM WIDE X 1000MM DEEP | M | 1 | 0 | 0
| 2.2 | UNDERGROUND MAIN - UGM - MV CABLES
| 2.2.1 | trenching and backfilling in normal soil
| 2.2.1.1 | 600MM WIDE X 1000MM DEEP | M | 1 | 0 | 0
[5 empty] | 0 | 0
| 2.3 | UNDERGROUND MAIN - UGM - LV CABLES
| 2.3.1 | trenching and backfilling in hard rock - compressor
| 2.3.1.1 | 300MM WIDE X 600MM DEEP | M | 1 | 0 | 0
| 2.4 | UNDERGROUND MAIN - UGM - LV CABLES
| 2.4.1 | trenching and backfilling in normal soil
| 2.4.1.1 | 300MM WIDE X 600MM DEEP | M | 1 | 0 | 0
| 2.5 | NON STANDARD EXCAVATION
| 2.5.1 | EXCAVATION IN NORMAL SOIL CONDITIONS | M³ | 1 | 0 | 0
| 2.5.2 | EXCAVATION IN HARD ROCK | M³ | 1 | 0 | 0
| 2.5.3 | SUPPLY OF BEDDING SAND | M³ | 1 | 0 | 0
| 2.6 | EXCAVATION FOR POLES
| 2.6.1 | DEPTH: 1,3 TO 1,5M PICK ABLE (SOIL) | each | 1 | 0 | 0
| 2.6.2 | PICK ABLE (ROCK) | each | 1 | 0 | 0
| 2.6.3 | COMPRESSOR ROCK (Inc. Invoice of Comp, | per/hole | 1 | 0 | 0
| 2.6.4 | COMPRESSOR ROCK (Inc. Invoice of Comp, | each | 1 | 0 | 0
| 2.6.5 | DEPTH:1,8 TO 2,0M PICK ABLE (SOIL) - Shoring | each | 1 | 0 | 0
| 2.6.6 | PICK ABLE (ROCK) – Shoring | each | 1 | 0 | 0
| 2.6.7 | COMPRESSOR ROCK (Inc. Invoice of Comp, | per/hole | 1 | 0 | 0
| 2.6.8 | DEPTH: 2,0M - 2.5M PICK ABLE ROCK | each | 1 | 0 | 0
| 2.6.9 | COMPRESSOR ROCK (Inc. Invoice of Comp, | per/hole | 1 | 0 | 0
| 2.6.10 | STAY HOLE PICK ABLE (SOIL) | each | 1 | 0 | 0
| 2.6.11 | STAY HOLE PICK ABLE (ROCK) | each | 1 | 0 | 0
| 2.6.12 | STAY HOLE - COMPRESSOR ROCK | per/hole | 1 | 0 | 0
TOTAL | [5 empty] | 0

## UNDERGROUND MAINS
| DESCRIPTION | UNIT | QTY | LABOUR RATE | UNIT |  | SUPPLY RATE
3 | UNDERGROUND CABLES
3.1 | CABLE LAYING
3.1.1 | LAYING OF LV CABLES ON OPEN TRENCHES AND BACKFILL, THROUGH DUCTS
3.1.1.1 | 10MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 39.1 | 0
3.1.1.2 | 16MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 53 | 0
3.1.1.3 | 4MM STRANDED CU 2 CORE PVC | EA | 1 | 0 | EA | 28 | 0
3.1.1.4 | 16MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 114 | 0
3.1.1.5 | 35MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 234 | 0
3.1.1.6 | 50MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 318 | 0
3.1.1.7 | 70MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 456 | 0
3.1.1.8 | 95MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 606 | 0
3.1.1.9 | 95MM SOLID AL 3CORE CNE PVC | EA | 1 | 0 | EA | 198 | 0
3.1.1.10 | 120MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 786 | 0
3.1.1.11 | 150MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 959 | 0
3.1.1.12 | 185MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 1148 | 0
3.1.2 | LAYING OF MV CABLES ON OPEN TRENCHES AND BACK FILL, THROUGH DUCTS
3.1.2.1 | 25MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 252 | 0
3.1.2.2 | 35MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 348 | 0
3.1.2.3 | 50MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 415 | 0
3.1.2.4 | 70MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 464 | 0
3.1.2.5 | 95MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 601 | 0
3.1.2.6 | 120MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 877.95 | 0
3.1.2.7 | 150MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 912 | 0
3.1.2.8 | 185MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 1005 | 0
3.1.2.9 | 300MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 1337 | 0
3.2 | TERMINATIONS
3.2.1 | TERMINATIONS OF LV CABLES
3.2.1.1 | 10MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 60 | 0
3.2.1.2 | 16MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 60 | 0
3.2.1.3 | 4MM STRANDED CU 2 CORE PVC | EA | 1 | 0 | EA | 60 | 0
3.2.1.4 | 16MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 105 | 0
3.2.1.5 | 35MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 210 | 0
3.2.1.6 | 50MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 210 | 0
3.2.1.7 | 70MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 299 | 0
3.2.1.8 | 95MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 299 | 0
3.2.1.9 | 95MM SOLID AL 3CORE CNE PVC | EA | 1 | 0 | EA | 299 | 0
3.2.1.10 | 120MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 299 | 0
3.2.1.11 | 150MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 480 | 0
3.2.1.12 | 185MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 480 | 0
3.2.3 | TERMINATION OF MV CABLES |  | 1 | 0 |  |  | 0
3.2.3.1 | 25MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2759.45 | 0
3.2.3.2 | 35MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2759.45 | 0
3.2.3.3 | 50MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2954 | 0
3.2.3.4 | 70MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2954 | 0
3.2.3.5 | 95MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2954 | 0
3.2.3.6 | 120MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2990 | 0
3.2.3.7 | 150MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2990 | 0
3.2.3.8 | 185MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 2990 | 0
3.2.3.9 | 300MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3131.05 | 0
|  |  | 1 | 0 |  |  | 0
3.2.4 | TERMINATION OF HV CABLES |  | 1 | 0 |  |  | 0
3.2.4.1 | 1000MM XLPE | EA | 1 | 0 |  | 5000 | 0
|  |  | 1 | 0 |  |  | 0
3.3 | JOINTING
3.3.1 | JOINTING OF LV CABLES
3.3.1.1 | 10MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 109 | 0
3.3.1.2 | 16MM SPLIT CONCENTRIC ( AIRDAC ) | EA | 1 | 0 | EA | 109 | 0
3.3.1.3 | 4MM STRANDED CU 2 CORE PVC | EA | 1 | 0 | EA | 64 | 0
3.3.1.4 | 16MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 109 | 0
3.3.1.5 | 35MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 171 | 0
3.3.1.6 | 50MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 171 | 0
3.3.1.7 | 70MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 258 | 0
3.3.1.8 | 95MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 258 | 0
3.3.1.9 | 95MM SOLID AL 3CORE CNE PVC | EA | 1 | 0 | EA | 258 | 0
3.3.1.10 | 120MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 690 | 0
3.3.1.11 | 150MM COPPER 4CORE PVC | EA | 1 | 0 | EA | 1298 | 0
3.3.1.12 | 185MM STRANDED CU 4CORE PVC | EA | 1 | 0 | EA | 1298 | 0
3.3.2 | JOINTING OF MV CABLES
3.3.2.1 | 25MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3394.17 | 0
3.3.2.2 | 35MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3394.17 | 0
3.3.2.3 | 50MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3394.17 | 0
3.3.2.4 | 70MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3500 | 0
3.3.2.5 | 95MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3819 | 0
3.3.2.6 | 120MM PAPER /ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3819 | 0
3.3.2.7 | 150MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3819 | 0
3.3.2.8 | 185MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3994 | 0
3.3.2.9 | 300MM PAPER / ANTI - ELECTROLYSIS / XLPE | EA | 1 | 0 | EA | 3994 | 0
3.3.3 | JOINTING OF HV CABLES
3.3.1 | 1000MM XLPE | EA | 1 | 0 | EA | 6000 | 0
|  |  |  | 0 |  |  | 0
|  |  |  | 0 |  |  | 0
3.4 | SUNDRY ITEMS
3.4.1 | Reclamation of cables to stores
3.4.1.1 | LV CABLES | EA | 1 | 0 |  |  | 0
3.4.1.2 | MV CABLES | EA | 1 | 0 |  |  | 0
3.4.1.3 | HV CABLES | EA | 1 | 0 |  |  | 0
3.4.2 | Crimping Lugs manufactured SANS compliant
3.4.2.1 | 6mm² x 6mm² |  | 1 | 0 | EA | 1.5 | 0
3.4.2.2 | 6mm² x 8mm² |  | 1 | 0 | EA | 1.5 | 0
3.4.2.3 | 6mm² x 10mm² |  | 1 | 0 | EA | 1.5 | 0
3.4.2.4 | 10mm² x 8mm² |  | 1 | 0 | EA | 1.85 | 0
3.4.2.5 | 10mm² x 10mm² |  | 1 | 0 | EA | 1.85 | 0
3.4.2.6 | 16mm² x 8mm² |  | 1 | 0 | EA | 3.12 | 0
3.4.2.7 | 16mm² x 10mm² |  | 1 | 0 | EA | 3.12 | 0
3.4.2.8 | 16mm² x 12mm² |  | 1 | 0 | EA | 3.12 | 0
3.4.2.9 | 16mm² x16mm² |  | 1 | 0 | EA | 3.12 | 0
3.4.2.10 | 25mm² x 8mm² |  | 1 | 0 | EA | 3.43 | 0
3.4.2.11 | 25mm² x 10mm² |  | 1 | 0 | EA | 3.43 | 0
3.4.2.12 | 25mm² x 12mm² |  | 1 | 0 | EA | 3.43 | 0
3.4.2.13 | 25mm² x 16mm² |  | 1 | 0 | EA | 3.43 | 0
3.4.2.14 | 35mm² x 10mm² |  | 1 | 0 | EA | 4.24 | 0
3.4.2.15 | 35mm² x 12mm² |  | 1 | 0 | EA | 4.24 | 0
3.4.2.16 | 35mm² x 16mm² |  | 1 | 0 | EA | 4.24 | 0
3.4.2.17 | 50mm² x 10mm² |  | 1 | 0 | EA | 6.11 | 0
3.4.2.18 | 50mm² x 12mm² |  | 1 | 0 | EA | 6.11 | 0
3.4.2.19 | 50mm² x 16mm² |  | 1 | 0 | EA | 6.11 | 0
3.4.2.20 | 70mm² x 10mm² |  | 1 | 0 | EA | 7.67 | 0
3.4.2.21 | 70mm² x 12mm² |  | 1 | 0 | EA | 7.67 | 0
3.4.2.22 | 70mm² x 16mm² |  | 1 | 0 | EA | 7.67 | 0
3.4.2.23 | 70mm² x 20mm² |  | 1 | 0 | EA | 12.01 | 0
3.4.2.24 | 95mm² x 10mm² |  | 1 | 0 | EA | 15.48 | 0
3.4.2.25 | 95mm² x 12mm² |  | 1 | 0 | EA | 15.48 | 0
3.4.2.26 | 95mm² x 16mm² |  | 1 | 0 | EA | 15.48 | 0
3.4.2.27 | 95mm² x 20mm² |  | 1 | 0 | EA | 15.48 | 0
3.4.2.28 | 120mm² x 12mm² |  | 1 | 0 | EA | 18.59 | 0
3.4.2.29 | 120mm² x 16mm² |  | 1 | 0 | EA | 18.59 | 0
3.4.2.30 | 120mm² x 20mm² |  | 1 | 0 | EA | 18.59 | 0
3.4.2.31 | 150mm² x 12mm² |  | 1 | 0 | EA | 36.09 | 0
3.4.2.32 | 150mm² x 16mm² |  | 1 | 0 | EA | 36.09 | 0
3.4.2.33 | 150mm² x 20mm² |  | 1 | 0 | EA | 36.09 | 0
3.4.2.34 | 185mm² x 12mm² |  | 1 | 0 | EA | 37.51 | 0
3.4.2.35 | 185mm² x 16mm² |  | 1 | 0 | EA | 37.51 | 0
3.4.2.36 | 185mm² x 20mm² |  | 1 | 0 | EA | 37.51 | 0
3.4.2.37 | 240mm² x 12mm² |  | 1 | 0 | EA | 51.84 | 0
|  |  |  | 0 |  |  | 0
3.4.3 | SCOTCH INSULATION TAPE |  |  | 0 |  |  | 0
3.4.3.1 | Black |  | 1 | 0 | EA | 21.736 | 0
3.4.3.2 | Red |  | 1 | 0 | EA | 21.736 | 0
3.4.3.3 | White |  | 1 | 0 | EA | 21.736 | 0
3.4.3.4 | Blue |  | 1 | 0 | EA | 21.736 | 0
3.4.3.5 | Green |  | 1 | 0 | EA | 21.736 | 0
3.4.3.6 | Yellow |  | 1 | 0 | EA | 21.736 | 0
|  |  |  | 0 |  |  | 0
3.4.4 | FERRULES COPPER SANS COMPLIANT |  |  | 0 |  |  | 0
3.4.4.1 | 2.5mm² |  | 1 | 0 | EA | 0.36 | 0
3.4.4.2 | 4.0mm² |  | 1 | 0 | EA | 0.46 | 0
3.4.4.3 | 6.0mm² |  | 1 | 0 | EA | 0.49 | 0
3.4.4.4 | 10mm² |  | 1 | 0 | EA | 0.73 | 0
3.4.4.5 | 16mm² |  | 1 | 0 | EA | 0.96 | 0
3.4.4.6 | 25mm² |  | 1 | 0 | EA | 1.57 | 0
3.4.4.7 | 35mm² |  | 1 | 0 | EA | 2.17 | 0
3.4.4.8 | 50mm² |  | 1 | 0 | EA | 3.56 | 0
3.4.4.9 | 70mm² |  | 1 | 0 | EA | 5.3 | 0
3.4.4.10 | 95mm² |  | 1 | 0 | EA | 8.87 | 0
3.4.4.11 | 120mm² |  | 1 | 0 | EA | 9.1 | 0
3.4.4.12 | 150mm² |  | 1 | 0 | EA | 17.28 | 0
3.4.4.13 | 185mm² |  | 1 | 0 | EA | 25.09 | 0
3.4.4.14 | 240mm² |  | 1 | 0 | EA | 30.77 | 0
|  |  | 1 | 0 |  |  | 0
3.4.5 | BICC PUTTY |  | 1 | 0 | KG | 58 | 0
|  |  | 1 | 0 |  |  | 0
3.4.6 | CABLE TIES BLACK ONLY |  | 1 | 0 |  |  | 0
3.4.6.1 | 290 x 3.5mm² |  | 1 | 0 | PKT | 36 | 0
3.4.6.2 | 365 x 4.0mm² |  | 1 | 0 | PKT | 37 | 0
3.4.6.3 | 300 x 4.6mm² |  | 1 | 0 | PKT | 36 | 0
3.4.6.4 | 390 x 4.6mm² |  | 1 | 0 | PKT | 37 | 0
3.4.6.5 | 445 x 4.6mm² |  | 1 | 0 | PKT | 39 | 0
3.4.6.6 | 460 x 7.6mm² |  | 1 | 0 | PKT | 39 | 0
|  | TOTAL |  | 0 | TOTAL |  | 0

## MINISUBS,RMU'S AND KIOSKS
4. MINISUBS, RMU’S AND KIOSKS
ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | UNIT |  | SUPPLY RATE
4 | GROUND MOUNT EQUIPMENT - minisubs, kiosks
4.1 | EQUIPMENT PLINTHS
4.1.1 | 11/22kV UNIVERSAL TYPE A MINI-SUBSTATION PLINTH (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.2 | 11/22kV UNIVERSAL TYPE A MINI-SUBSTATION PLINTH (PRE-CAST) | EA | 1 | 0 | EA | 0 | 0
4.1.3 | 11/22kV 1MVA TYPE 'A' MINI-SUBSTATION PLINTH DETAILS (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.4 | 11/22kV 1MVA TYPE 'A' MINI-SUBSTATION PLINTH DETAILS (PRE-CAST) | EA | 1 | 0 | EA | 0 | 0
4.1.5 | 11/22kV 1MVA TYPE 'A' MINI-SUBSTATION PLINTH DETAILS (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.6 | TYPE 'B' MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. PLINTH DETAILS (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.7 | RMU PLINTH FOR 3-4 WAY PLAN AND SECTION (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.8 | RMU PLINTH FOR 5-8 WAY WAY PLAN AND SECTION (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.9 | TRANSFORMER PLINTH FOR 100 - 1000kVA TRFRS PLAN AND SECTION (CAST ON SITE) | EA | 1 | 0 | EA | 0 | 0
4.1.10 | TRANSFORMER PLINTH FOR 100 - 1000kVA TRFRS PLAN AND SECTION (PRE-CAST) | EA | 1 | 0 | EA | 0 | 0
4.2 | KIOSKS
4.2.1 | KIOSK GROUND MOUNTED (2-6 WAY) excl cable | EA | 1 | 0 | EA | 0 | 0
4.2.2 | KIOSK GROUND MOUNTED (8 WAY) excl. cable | EA | 1 | 0 | EA | 0 | 0
4.2.3 | KIOSK GROUND MOUNTED (10-16 WAY) exc. Cable | EA | 1 | 0 | EA | 0 | 0
4.2.4 | KIOSK GROUND MOUNTED (24 WAY) exc. Cable | EA | 1 | 0 | EA | 0 | 0
4.3 | INSTALLATION OF CIRCUIT BREAKERS
4.3.1 | 10A SINGLE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.2 | 63A SINGLE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.3 | 80A SINGLE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.4 | 100A SINGLE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.5 | 100A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.6 | 125A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.7 | 150A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.8 | 150A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.9 | 200A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.10 | 300A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.11 | 400A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.3.12 | 800A THREE PHASE | EA | 1 | 0 | EA | 0 | 0
4.4 | MINISUBSTSTION
4.4.1 | INSTALLATION OF 315KVA MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. | EA | 1 | 0 | EA | 0 | 0
4.4.2 | INSTALLATION OF 500KVA MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. | EA | 1 | 0 | EA | 0 | 0
4.4.3 | INSTALLATION OF 630KVA MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. | EA | 1 | 0 | EA | 0 | 0
4.4.4 | INSTALLATION OF 800KVA MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. | EA | 1 | 0 | EA | 0 | 0
4.4.5 | INSTALLATION OF 1000KVA MINI-SUBSTATION WITH CABLE FRONT OR SIDE ENTRY R.M.U. | EA | 1 | 0 | EA | 0 | 0
4.5 | GROUND MOUNT TRANSFORMERS
4.5.1 | INSTALLATION OF 100kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.5.2 | INSTALLATION OF 200kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.5.3 | INSTALLATION OF 500kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.5.4 | INSTALLATION OF 630kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.5.5 | INSTALLATION OF 800kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.5.6 | INSTALLATION OF 1000kVA TRF AS PER APPROVE STANDARD | EA | 1 | 0 | EA | 0 | 0
4.6 | MV SWTCHGEAR AND SUBSTATIONS
4.6.1 | RING MAIN UNITS
4.6.1.1 | 3-WAY OIL INSULATED RMU | EA | 1 | 0 | EA | 0 | 0
4.6.1.2 | 3-WAY SF6 INSULATED RMU | EA | 1 | 0 | EA | 0 | 0
4.6.1.3 | 6-WAY SF6 INSULATED RMU | EA | 1 | 0 | EA | 0 | 0
4.7 | MV SUBSTATIONS
4.7.1 | INSTALLATION OF MV PANEL WITH C/B | EA | 1 | 0 | EA | 0 | 0
4.7.2 | SERVICING OF MV PANEL | EA | 1 | 0 | EA | 0 | 0
4.7.3 | REPLACE MV PANEL | EA | 1 | 0 | EA | 0 | 0
4.7.4 | SERVICING OF MV OIL CIRCUIT BREAKER | EA | 1 | 0 | EA | 0 | 0
4.7.5 | SERVICING OF MV SF6 CIRCUIT BREAKER | EA | 1 | 0 | EA | 0 | 0
4.7.6 | REPLACE MV OIL CIRCUIT BREAKER | EA | 1 | 0 | EA | 0 | 0
4.7.7 | REPLACE MV SF6 CIRCUIT BREAKER | EA | 1 | 0 | EA | 0 | 0
4.7.8 | INSTALLATION OF MV BUSBAR ON TWO ADJACENT PANELS | per phase | 1 | 0 | EA | 0 | 0
4.7.9 | INSTALLATION OF BATTERY CHARGERS | EA | 1 | 0 | EA | 0 | 0
4.7.10 | INSTALLATION OF VT | EA | 1 | 0 | EA | 0 | 0
4.7.11 | INSTALLATION OF CT | EA | 1 | 0 | EA | 0 | 0
4.8 | SUNDRY ITEMS
4.8.1 | CURRENT FUSE LINKS FOR USE IN OIL SWITCHGEAR , VOLTAGE RATING SUITABLE FOR 11000V
4.8.1.1 | 20 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.2 | 25 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.3 | 30 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.4 | 35 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.5 | 40 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.6 | 45 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.7 | 50 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.8 | 60 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.9 | 70 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.10 | 80 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.11 | 100 Amp |  | 1 | 0 | EA | 0 | 0
4.8.1.12 | 120 Amp |  | 1 | 0 | EA | 0 | 0
4.9 | Transformer Oil |  | 1 | 0 | Drum | 0 | 0
|  |  | TOTAL | 0 | TOTAL |  | 0

## OVERHEAD MAINS
5. OVERHEAD MAINS
ITEM | DESCRIPTION | UNIT | QTY | LABOUR RATE | QTY |  | SUPPLY RATE
5 | OVERHEAD MAINS AND EQUIPMENT
5.1 | PLANTING OF POLES IN NORMAL SOIL
5.1.1 | WOODEN - 5.0M | EA | 1 | 0 | EA | 0 | 0
5.1.2 | WOODEN - 6.0M | EA | 1 | 0 | EA | 0 | 0
5.1.3 | WOODEN - 7.0M | EA | 1 | 0 | EA | 0 | 0
5.1.4 | WOODEN - 9.0M | EA | 1 | 0 | EA | 0 | 0
5.1.5 | WOODEN - 10.0M | EA | 1 | 0 | EA | 0 | 0
5.1.6 | WOODEN - 11.0M | EA | 1 | 0 | EA | 0 | 0
5.1.7 | WOODEN - 12.0M | EA | 1 | 0 | EA | 0 | 0
5.1.8 | WOODEN - 14,0 M | EA | 1 | 0 | EA | 0 | 0
5.1.9 | CONCRETE PRESTRESSED - 9M - 4KN | EA | 1 | 0 | m³ | 0 | 0
5.1.10 | CONCRETE - PRESTRESSED - 9M - 7KN | EA | 1 | 0 | m³ | 0 | 0
5.1.11 | CONCRETE PRESTRESSED - 9M - 17.5KN | EA | 1 | 0 | m³ | 0 | 0
5.1.12 | CONCRETE PRESTRESSED - 10M - 8KN | EA | 1 | 0 | m³ | 0 | 0
5.1.13 | CONCRETE PRESTRESSD - 11M - 8KN | EA | 1 | 0 | m³ | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.2 | PLANTING OF POLES IN HARD ROCK CONDITIONS |  |  | 0 |  | 0 | 0
5.2.1 | WOODEN - 5.0M | EA | 1 | 0 | EA | 0 | 0
5.2.2 | WOODEN - 6.0M | EA | 1 | 0 | EA | 0 | 0
5.2.3 | WOODEN - 7.0M | EA | 1 | 0 | EA | 0 | 0
5.2.4 | WOODEN - 9.0M | EA | 1 | 0 | EA | 0 | 0
5.2.5 | WOODEN - 10.0M | EA | 1 | 0 | EA | 0 | 0
5.2.6 | WOODEN - 11.0M | EA | 1 | 0 | EA | 0 | 0
5.2.7 | WOODEN - 12.0M | EA | 1 | 0 | EA | 0 | 0
5.2.8 | WOODEN - 14,0 M | EA | 1 | 0 | EA | 0 | 0
5.2.9 | CONCRETE PRESTRESSED - 9M - 4KN | EA | 1 | 0 | m³ | 0 | 0
5.2.10 | CONCRETE - PRESTRESSED - 9M - 7KN | EA | 1 | 0 | m³ | 0 | 0
5.2.11 | CONCRETE PRESTRESSED - 9M - 17.5KN | EA | 1 | 0 | m³ | 0 | 0
5.2.12 | CONCRETE PRESTRESSED - 10M - 8KN | EA | 1 | 0 | m³ | 0 | 0
5.2.13 | CONCRETE PRESTRESSD - 11M - 8KN | EA | 1 | 0 | m³ | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.3 | PLANTING OF STAY ROD IN NORMAL SOIL |  |  | 0 |  | 0 | 0
5.3.1 | STAY ROD | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.4 | ERECTION OF STAYS |  |  | 0 |  | 0 | 0
5.4.1 | STAYS | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.5 | ERECTION OF STRUT POLES IN NORMAL SOIL |  |  | 0 |  | 0 | 0
5.5.1 | STRUTS OF WOODEN POLES INCLUDING ANTI CLIMBING DEVICES | EA | 1 | 0 | EA | 0 | 0
5.5.2 | STRUTS OF CONCRETE POLES INCLUDING ANTI CLIMBING DEVICES | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.6 | ERECT H-POLES (VEHICLE ACCESSIBLE) |  |  | 0 |  | 0 | 0
5.6.1 | 11 METER STRUCTURE | EA | 1 | 0 | EA | 0 | 0
5.6.2 | 12 METER STRUCTURE | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.7 | ERECT H-POLES (VEHICLE INACCESSIBLE) |  |  | 0 |  | 0 | 0
5.7.1 | 11 METER STRUCTURE | EA | 1 | 0 | EA | 0 | 0
5.7.2 | 12 METER STRUCTURE | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.8 | STRINGING & TENSIONING (MV AND LV) |  |  | 0 |  | 0 | 0
5.8.1 | BARE CONDUCTOR - HARE,FOX | p/ meter | 1 | 0 | M | 0 | 0
5.8.2 | ABC 35MM | p/ meter | 1 | 0 | M | 0 | 0
5.8.3 | ABC 70MM | p/ meter | 1 | 0 | M | 0 | 0
5.8.4 | ABC 70MM | p/ meter | 1 | 0 | M | 0 | 0
5.8.5 | ADDITIONAL Crimping per lug / T-joint / Non-Tension | EA | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.9 | SUNDRY ITEMS |  |  | 0 |  | 0 | 0
5.9.1 | RENTENSIONING OF CONDUCTOR | per insulator | 1 | 0 |  | 0 | 0
5.9.2 | LOOSENING OF CONDUCTOR | per insulator | 1 | 0 |  | 0 | 0
5.9.3 | STRAIN - TENSIONING AND REGULATING, only | per structure | 1 | 0 |  | 0 | 0
5.9.4 | Binding In of Conductor/phase/Suspension | per insulator | 1 | 0 |  | 0 | 0
5.9.5 | Bandit strapping stainless steel box coils 9.4mm and buckles | per structure | 1 | 0 | EA | 0 | 0
5.9.6 | Bandit strapping stainless steel box coils 12.0mm and buckles | per structure | 1 | 0 | EA | 0 | 0
5.9.7 | Anti Climbing device |  |  | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.10 | SUNDRIES AS PER FDP |  |  | 0 |  | 0 | 0
5.10.1 | FIT BIRD FLAPPERS / DIVERTERS | EACH | 1 | 0 | EA | 0 | 0
5.10.2 | AVIATION SPHERES | EACH | 1 | 0 | EA | 0 | 0
5.10.3 | VIBRATION DAMPER | EACH | 1 | 0 | EA | 0 | 0
5.10.4 | POLE RE-NUMBERING | EACH | 1 | 0 | EA | 0 | 0
5.10.5 | STRAPPING (Buckle Strapp) | EACH | 1 | 0 | EA | 0 | 0
5.10.6 | LINE LINKS ON WOODEN POLES | EACH | 1 | 0 | EA | 0 | 0
5.10.7 | SURGE ARRESTORS ON WOODEN POLES | EACH | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.11 | OVERHEAD NEW INSTALLATIONS |  |  | 0 |  | 0 | 0
5.11.1 | INSTALLATION POLE TOP BOX ONLY (REFER TO D-DT 0363) | EACH | 1 | 0 | EA | 0 | 0
5.11.2 | LV-STAY ASSEMBLY (LV - 35kN) WOOD OR CONCRETE POLES | EACH | 1 | 0 | EA | 0 | 0
5.11.3 | MV-STAY ASSEMBLY (MV - 97kN) WOOD POLES | EACH | 1 | 0 | EA | 0 | 0
5.11.4 | MV-STAY ASSEMBLY (MV - 97kN) WOOD OR CONCRETE POLES | EACH | 1 | 0 | EA | 0 | 0
5.11.5 | LV/MV - STRUT ASSEMBLY FLAT 45 DEG. BRACKET FOR 9m WOOD POLES ( not for MV Line) | EACH | 1 | 0 | EA | 0 | 0
5.11.6 | LV/MV - OVERHEAD FLYING STAY ARRANGEMENT | EACH | 1 | 0 | EA | 0 | 0
5.11.7 | MV-STRUT ASSEMBLY - SWIVEL BRACKET - 11m & 12m POLES | EACH | 1 | 0 | EA | 0 | 0
5.11.8 | EARTHING - TRANSFORMER SINGLE POLE MOUNTING (ELECTRODE AT TRANSFORMER) Standard | EACH | 1 | 0 | EA | 0 | 0
5.11.9 | earth for P=300 (30 ohm) (Excluding the excavations) for additional earthingas per Proj. Eng instruction (MV and LV) | EACH | 1 | 0 | EA | 0 | 0
5.11.10 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (UNFUSED) ≤ 25mm² 2 CORE, 3 CORE AND 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.11 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (UNFUSED) ≤35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE INTERMEDIATE STRUCTURE AND 35-50MM AND 35-50mm² 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.12 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (UNFUSED) 70mm² 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.13 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (UNFUSED) ≤ 25mm² 2 CORE, 3 CORE AND 4 CORE TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.14 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (UNFUSED) 35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.15 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (UNFUSED) ≤ 25mm² 2 CORE, 3 CORE AND 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.16 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (UNFUSED) 35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.17 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (UNFUSED) 70-185mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.18 | LV OUTDOOR CABLE TERMINATION TO TRANSFORMER (UNFUSED) ≤35mm² 2 CORE, ≤70mm² 3 CORE, ≤50mm² 4 CORE | EACH | 1 | 0 | EA | 0 | 0
5.11.19 | LV OUTDOOR CABLE TERMINATION TO TRANSFORMER (UNFUSED) 1 x 70mm - 185mm² 4 CORE | EACH | 1 | 0 | EA | 0 | 0
5.11.20 | LV OUTDOOR CABLE TERMINATION TO TRANSFORMER (UNFUSED) 2 x 70mm² 4 CORE OR 2 - 3 x 150mm² 4 CORE | EACH | 1 | 0 | EA | 0 | 0
5.11.21 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (FUSED) ≤25mm² 2 CORE, 3 CORE AND 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.22 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (FUSED) 35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.23 | LV OUTDOOR CABLE TERMINATION TO ABC LINE (FUSED) 70mm² 4 CORE INTERMEDIATE STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.24 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (FUSED) ≤25mm² 2 CORE, 3 CORE AND 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.25 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (FUSED) ≤35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.26 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (FUSED) ≤35mm² 2 CORE, 35-70mm² 3 CORE AND 35-50mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.27 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (FUSED) 70mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.28 | LV OUTDOOR CABLE TERMINATION TO OPEN WIRE LINE (FUSED) 70-185mm² 4 CORE INTERMEDIATE OR TERMINAL STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.29 | LV OUTDOOR CABLE TERMINATION TO TRANSFORMER (FUSED) ≤35mm² 2 CORE,≤ 70mm² 3 CORE AND ≤ 50mm² 4 CORE | EACH | 1 | 0 | EA | 0 | 0
5.11.30 | LV OUTDOOR CABLE TERMINATION TO TRANSFORMER (FUSED) 1x70mm² 4 CORE | EACH | 1 | 0 | EA | 0 | 0
5.11.31 | LV DISTRIBUTION KIOSK ASSEMBLY STRUCTURE | EACH | 1 | 0 | EA | 0 | 0
5.11.32 | CABLE TERMINATION ONTO OVERHEAD LINE WITH FUSE-CUT-OUT ASSEMBLY GENERAL ARRANGEMENT | EACH | 1 | 0 | EA | 0 | 0
5.11.33 | CABLE TERMINATION ONTO VERTICAL STRAIN TERMINAL WITH FUSE-CUT-OUT ASSEMBLY GENERAL ARRANGEMENT | EACH | 1 | 0 | EA | 0 | 0
5.11.34 | CABLE TERMINATION ONTO EASTERN REGION W.I.S.P. STRUCTURE WITH FUSE-CUT-OUT ASSEMBLY GENERAL ARRANGEMENT | EACH | 1 | 0 | EA | 0 | 0
5.11.35 | CABLE TERMINATION ONTO H-POLE STRUCTURE GENERAL ARRANGEMENT | EACH | 1 | 0 | EA | 0 | 0
5.11.36 | OVERHEAD CABLE SUPPORT BRACKET FOR STATION CLASS S.A.'S | EACH | 1 | 0 | EA | 0 | 0
5.11.37 | OVERHEAD CABLE SUPPORT BRACKET FOR DISTRIBUTION CLASS S.A.'S | EACH | 1 | 0 | EA | 0 | 0
5.11.38 | OVERHEAD H-POLE CABLE SUPPORT BRACKET FOR STATION CLASS S.A.'S | EACH | 1 | 0 | EA | 0 | 0
5.11.39 | OVERHEAD H-POLE CABLE SUPPORT BRACKET FOR DISTRIBUTION CLASS S.A.'S | EACH | 1 | 0 | EA | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.12 | POLE MOUNTED DISTRIBUTION SWITCHGEAR |  |  | 0 |  | 0 | 0
| Installation of equipment as indicated below |  |  | 0 |  | 0 | 0
5.12.1 | 50 KVA (SINGLE POLE) | EACH | 1 | 0 |  | 0 | 0
5.12.2 | 100KVA (SINGLE POLE MOUNTED) | EACH | 1 | 0 |  | 0 | 0
5.12.3 | 100 KVA (PLATFORM MOUNTED) | EACH | 1 | 0 |  | 0 | 0
5.12.4 | 200 KVA(PLATFORM MOUNTED) | EACH | 1 | 0 |  | 0 | 0
5.12.5 | 315 KVA (5 POLE STRUCTURE) | EACH | 1 | 0 |  | 0 | 0
5.12.6 | 400 KVA (5 POLE STRUCTURE) | EACH | 1 | 0 |  | 0 | 0
5.12.7 | 500 KVA (5 POLE STRUCTURE) | EACH | 1 | 0 |  | 0 | 0
5.12.8 | REPLACE / INSTALL BONDING / BIL | EACH | 1 | 0 |  | 0 | 0
5.12.9 | REPLACE INSULATORS | EACH | 1 | 0 |  | 0 | 0
5.12.10 | REPLACE CROSS-ARM INTERMEDIATE | EACH | 1 | 0 |  | 0 | 0
5.12.11 | REPLACE CROSS-ARM STRAIN | EACH | 1 | 0 |  | 0 | 0
5.12.12 | LABEL TRANSFORMER | EACH | 1 | 0 |  | 0 | 0
5.12.13 | LINK LABLES | EACH | 1 | 0 |  | 0 | 0
5.12.14 | MOSDOFFER LABLES | EACH | 1 | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.13 | STREET LIGHTS |  |  | 0 |  | 0 | 0
5.13.1 | 80W HPMV STREETLIGHT ON 1M DEGREE OUTREACH (STEEL ) | EACH | 1 | 0 |  | 0 | 0
5.13.2 | 80W HPMV STREETLIGHT ON 1M 15 DEGREE OUTREACH ( STEEL) | EACH | 1 | 0 |  | 0 | 0
5.13.3 | 250 HPMV STREETLIGHT ON 1M 15 DEGREE OUTREACH ( STEEL ) | EACH | 1 | 0 |  | 0 | 0
5.13.4 | 400W HPMV STREETLIGHT ON 1M 15 DEGREE OUTREACH ( STEEL ) | EACH | 1 | 0 |  | 0 | 0
5.13.5 | 53W LED STREET LIGHT | EACH | 1 | 0 |  | 0 | 0
5.13.6 | 70W LED STREET LIGHT | EACH | 1 | 0 |  | 0 | 0
5.13.7 | 108W LED STREET LIGHT | EACH | 1 | 0 |  | 0 | 0
5.13.8 | 250W LED STREET LIGHT | EACH | 1 | 0 |  | 0 | 0
5.13.9 | CONNECTION TO AERAIL BOX | EACH | 1 | 0 |  | 0 | 0
5.13.10 | CONNECTION TO ABC | EACH | 1 | 0 |  | 0 | 0
5.13.11 | CONNECTING TO AIRDAC | EACH | 1 | 0 |  | 0 | 0
5.13.12 | CONNECTION TO LV OHL | EACH | 1 | 0 |  | 0 | 0
5.13.13 | INSTALL MCB ON POLE | EACH | 1 | 0 |  | 0 | 0
5.13.14 | REPAIR STREET LIGHT | EACH | 1 | 0 |  | 0 | 0
5.13.15 | INSTALL STREET LIGHT FUSE | EACH | 1 | 0 |  | 0 | 0
5.13.16 | INSTALL STREET LIGHT CONTACTOR | EACH | 1 | 0 |  | 0 | 0
5.13.17 | INSTALL PHASE PHASE RELAY | EACH | 1 | 0 |  | 0 | 0
5.13.18 | ERECT STREET LIGHT POLE | EACH | 1 | 0 |  | 0 | 0
5.13.19 | EXCAVATION FOR STREET LIGHT POLE - 2M | EACH | 1 | 0 |  | 0 | 0
5.13.20 | REPLACE STREELIGHT INSPECTION COVERS | EACH | 1 | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
|  |  |  | 0 |  | 0 | 0
5.14 | HOUSE CONNECTIONS |  |  | 0 |  | 0 | 0
5.14.1 | S1 CONNECTION FROM POLE INCLUDING POLE TOP BOX - INTERMEDIATE POLE SUSPENSION REFER TO D-DT 0366 & (20AMP PREPAID METER (excluding Concentric) | EACH | 1 | 0 |  | 0 | 0
5.14.2 | S1 CONNECTION FROM POLE INCLUDING POLE TOP BOX - KICKER POLE AT HOUSE REFER TO D-DT 0361 & (20AMP PREPAID METER (excluding Concentric) | EACH | 1 | 0 |  | 0 | 0
5.14.3 | SERVICE CONNECTION FROM POLE INCLUDING POLE TOP BOX & (20AMP PREPAID METER (excluding Concentric) | EACH | 1 | 0 |  | 0 | 0
5.14.4 | Installation of ED (60amp pre paid) only (special project) | EACH | 1 | 0 |  | 0 | 0
5.14.5 | Installation of ECU (20amp pre paid) only (special project) | EACH | 1 | 0 |  | 0 | 0
5.14.6 | STRINGING OF AIRDEC - 10MM | EACH | 1 | 0 |  | 0 | 0
|  |  | TOTAL | 0 | TOTAL |  | 0

## DISTRIBUTION SYSTEMS GENERAL
6. DISTRIBUTION SYSTEMS GENERAL
NO | DESCRIPTION | ADDITIONAL INFORMATION | UNIT |  | PRICE PER UNIT
6.1 | FAST BLOW FUSE ELEMENTS
6.1.2 | 15 Amp |  | 1 | 17.05 | 0
6.1.3 | 20 Amp |  | 1 | 19.05 | 0
6.1.4 | 25 Amp |  | 1 | 20.13 | 0
6.1.5 | 30 Amp |  | 1 | 21.47 | 0
6.1.6 | 35 Amp |  | 1 | 24.42 | 0
6.1.7 | 40 Amp |  | 1 | 24.42 | 0
6.1.8 | 45 Amp |  | 1 | 33 | 0
6.1.9 | 50 Amp |  | 1 | 33 | 0
6.1.10 | 60 Amp |  | 1 | 37.04 | 0
6.1.11 | 70 Amp |  | 1 | 37.04 | 0
6.1.12 | 80 Amp |  | 1 | 61.18 | 0
6.1.13 | 100 Amp |  | 1 | 69.49 | 0
0
6.2 | LV FUSE SWITCH UNITS |  |  |  | 0
| 63A Load disconnecting switch similar to MORSDORPHER |  | 1 | 593.7 | 0
| 80A Load disconnecting switch similar to MORSDORPHER |  | 1 | 595.53 | 0
| 100A Load disconnecting switch similar to MORSDORPHER |  | 1 | 605.67 | 0
| 125A Load disconnecting switch similar to MORSDORPHER |  | 1 | 626.19 | 0
0
6.3 | LV ABC |  |  |  | 0
| Single Phase ABC 35mm² 2C | D3141 | 1 | 25 | 0
| Three Phase ABC 70mm² 4C | D3141 | 1 | 61 | 0
0
6.4 | ABC ASSEMBLY LV STRUCTURES DUAL PHASE |  |  |  | 0
| ABC Suspension | D-DT-1145 | 1 | 48.31 | 0
| ABC Terminal | D-DT-1146 | 1 | 90.02 | 0
| ABC Strain | D-DT-1147 | 1 | 192.16 | 0
0
6.5 | ABC ASSEMBLY LV STRUCTURES THREE PHASE |  |  |  | 0
| ABC Suspension assembly | D-DT-1100 | 1 | 48.42 | 0
| ABC Strain Assembly | D-DT-1121 | 1 | 151.36 | 0
0
6.6 | PG CLAMPS BI METAL (GOLD) |  |  |  | 0
| Single Bolt small |  | 1 | 97.87 | 0
| Single bolt large |  | 1 | 91.08 | 0
| Double bolt small |  | 1 | 112.61 | 0
| Double bolt large |  | 1 | 150.69 | 0
0
6.7 | AERIAL BUNDLE CONNECTORS TYPE IPC |  |  |  | 0
| 25-95mm Main/25 - 95mm Tap Single |  | 1 | 24.05 | 0
| 25-95mm Main/25 - 95mm Tap Double |  | 1 | 36.34 | 0
| 50-185mm Main/6-35mm Tap Single |  | 1 | 23.4 | 0
| 30-150mm Main/30-150mm Tap Single |  | 1 | 43.96 | 0
| 50-240mm Main/50-240mm Tap Double |  | 1 | 116.28 | 0
0
0
6.8 | AERIAL BUNDLE CABLE FITTINGS |  |  |  | 0
| EAS 51-10 insulated neutral assembly (PA1500 + CS-10) |  | 1 | 94.07 | 0
| EAS 54-14 insulated neutral strain assembly (PS54 + CS-14) |  | 1 | 54.35 | 0
| PA1500 insulated neutral strain clamp |  | 1 | 63.31 | 0
| PS54-50-35 insulated neutral suspension clamp |  | 1 | 63.31 | 0
| PAB1500 bare neutral strain clamp |  | 1 | 14.75 | 0
| PSB 54-50-35 bare neutral suspension clamp |  | 1 | 64.75 | 0
0
6.9 | PIGTAIL SCREWS |  |  |  | 0
| M10 x 150mm |  | 1 | 20 | 0
0
0
6.10 | THREADED ROD ASSEMBLIES |  |  |  | 0
| M16 x 350 c/w 2SQ Washers 2 Spring washers & 2 Nuts |  | 1 | 19.5 | 0
| M20 x 350 c/w 2SQ Curved Washers, 2 Flat Washers & 2 Spring Washers and 4 Nuts |  | 1 | 44.7 | 0
0
6.11 | AUTOMATIC LINE SPLICERS FOR ASCR CONDUCTOR |  |  |  | 0
| 7652AP auto line splice range 5.82mm to 8.64mm |  | 1 | 195 | 0
| 7654AP auto line splice range 9.27mm to 12.07mm |  | 1 | 297.4 | 0
| 7656AP auto line splice range 11.79mm to 14.86mm |  | 1 | 311.16 | 0
|  |  | 1 |  | 0
7 | OVERHEAD LINE ACCESSORIES |  |  |  | 0
7.1 | "A" frames standard size 1240 x 1000mm strain |  | 1 | 1150 | 0
7.2 | "A" frames standard size 1240 x 1000mm intermediates |  | 1 | 620 | 0
7.3 | Silicone insulated long rod type 590mm creepage for use on11kv Clevis & Tongue |  | 1 | 130 | 0
7.4 | Porcelain capless line post insulators 11kv EP472 472 4 KN |  | 1 | 188 | 0
7.5 | Dead ends for hare conductor |  | 1 | 52.61 | 0
7.6 | Dead ends for FOX conductor |  | 1 | 38.05 | 0
7.7 | Dead ends for squirrel conductor |  | 1 | 17 | 0
7.8 | Lock wrap ties for hare conductor |  | 1 | 80.64 | 0
7.9 | Lock wrap ties for FOX conductor |  | 1 | 47.85 | 0
7.10 | Lock wrap ties for squirrel conductor |  | 1 | 75 | 0
7.11 | Pole top make off 7 x 3.35mm |  | 1 | 118 | 0
7.12 | Stay wire insulators medium size for use on 11/22kv lines SAG522 |  | 1 | 20.1 | 0
7.13 | Stay rod adjustable 2.4m x 20mm complete with base plate 450 x 450mm |  | 1 | 630 | 0
7.14 | Stay rod for use in rock |  | 1 | 365.99 | 0
7.14 | Galvanised bolt & nuts 20mm x 250mm complete with one flat and one curved washer |  | 1 | 50 | 0
7.15 | As above 20 x 350mm |  | 1 | 55 | 0
7.16 | As above 20 x 600mm |  | 1 | 78.21 | 0
7.17 | M20 x 50mm spindle for capless line post insulator type EP472 4 KN |  | 1 | 17 | 0
7.18 | 12kv stand-off insulator |  | 1 | 493.85 | 0
7.19 | Cut out fuses type RTF-11 silicone cut out 11/22 kv 560mm creepage - complete i.e. fuse carrier and holder |  | 1 | 1011.8 | 0
7.20 | Cut out fuses type SIL 750-21P silicone cut out 11/22 kv 750mm creepage - complete i.e. fuse carrier and holder |  | 1 | 1000 | 0
7.21 |  |  | 1 |  | 0
7.22 |  |  | 1 |  | 0
8 | CONDUCTOR MV ACSR |  | 1 |  | 0
8.1 | FOX | D3136 | 1 | 10 | 0
8.2 | HARE | D3136 | 1 | 25 | 0
8.3 | CHICKADEE | D3136 | 1 | 34 | 0
0
0
0
0
9 | MV STRUCTURES |  |  |  | 0
9.1 | 3 PHASE - H-POLE / 3,5m WOOD CROSSARM - STRAIN - TERMINAL | D1766 | 1 | 967.22 | 0
9.2 | XARM,ST STRN MINK+HAR125x75x1700LG D3072 | D1809 | 1 | 2271.19 | 0
9.3 | RECLOSER STRUCTURE - GENERAL ARRANGEMENT | D1825 | 1 | 34058 | 0
9.4 | CT/VT METERING BULK TARIFF IN LINE (GENERAL ARRANGEMENT) | D1840 | 1 | 6479.23 | 0
9.5 | SECTION / EQUIP. LINKS / DISCON 1.3m STEEL XARM / SINGLE POLE | D1850 | 1 | 4482.87 | 0
9.6 | SECTION / LOAD BREAK SWITCH - G/ LINK STICK OPERATED - 1 POLE MTED. c/w INDICATOR,FAULT PATH PERM BASC C/M D3037 | D1857 | 1 | 35556.17 | 0
9.7 | TRFR - 5-100kVA / SINGLE POLE MOUNTED GEN. AR'GEMENT | D1860 | 1 | 2144.54 | 0
9.8 | TRFR 100-200kVA - 2-POLE P/FORM MOUNTED (IN-LINE) GEN AR'GEMENT | D1863 | 1 | 4872.74 | 0
9.9 | 3 PHASE - H-POLE / 2 x 4.5m WOOD XARM STRAIN - LARGE (61 - 90 DEG.) | D1873 | 1 | 2144.5 | 0
| Allow for the following structures and insulator assemblies in accordance with the specifications as shown in the drawings. Include the drilling of holes and treating of such holes, the provision of the U-nails and earthwire in accordance with Eskom specifications. The supply and installation of 15m of 3/3.35x1100MPa steel wire for a GIL for each pole structure as per Eskom specification. Exclude the supply and planting of poles, stays and struts which are measured elsewhere. |  |  |  | 0
| INTERMEDIATE CAPE A-FRAME HARE PORC 4KN. c/w BIL downwire (3x3.35 staywire) & BIL Gap device (TG001) on Interm Pole 10m | D6022/I | 1 | 1606.95 | 0
9.10 | STRAIN W.CAPE A-FRAME HARE ELBROC(INLINE STRAIN) | D6022/0 | 1 | 2686.03 | 0
9.11 | STRAIN (0-60D) W.CAPE A-FRAME HARE ELBROC c/w Vibration damper | D6022/60 | 1 | 2686.03 | 0
9.12 | STRAIN (60-90D)W. CAPE A-FRAME HARE ELBROC c/w Vibration Damper + RX | D6022/90 | 1 | 4353.56 | 0
9.13 | STRAIN W.CAPE A-FRAME HARE ELBROC(TERMINAL) | D6022/T | 1 | 1936.12 | 0
0
0
10 | CABLE GLANDS AND SHROUDS |  |  |  | 0
10.1 | No. 1 gland and shroud |  | 1 | 51.4 | 0
10.2 | No. 2 gland and shroud |  | 1 | 55.6 | 0
10.3 | No. 3 gland and shroud |  | 1 | 77.9 | 0
10.4 | No. 4 gland and shroud |  | 1 | 146 | 0
10.5 | No. 5 gland and shroud |  | 1 | 272 | 0
10.6 | No. 6 gland and shroud |  | 1 | 417 | 0
10.7 | No. 7 gland and shroud |  | 1 | 677.21 | 0
10.8 |  |  |  |  | 0
10.9 |  |  |  |  | 0
11 | END CONNECTORS AND INSULATING SLEEVES |  |  |  | 0
11.1 | No.2 connector and sleeve |  | 1 | 100 | 0
11.2 | No.3 connector and sleeve |  | 1 | 110 | 0
11.3 | No. connector and sleeve |  | 1 | 121 | 0
11.4 | No.5 connector and sleeve |  | 1 | 133.1 | 0
11.5 | No.6 connector and sleeve |  | 1 | 146.41 | 0
|  |  | TOTAL |  | 0

## HH ELECTRIFICATION
12. ELECTRIFICATION OF HOUSEHOLDS
NO | DESCRIPTION | UNIT | QTY |  | PRICE PER UNIT
12.1 | Survey |  | 1 | 17.05
12.1 | OHS compliance | Sum | 1 | 19.05
12.1 | Elelctrification of Households with split PLC prepaid electricity meters. The CIU and MCU must be in compliance with STS 6 requirements and must be tested by SABS. These meters must be a smart ready option. | no. | 1 | 20.13
12.1 | Compile and submit EPWP monthly reports | no. | 1 | 21.47
12.1 | Allow CLO's fixed month salary of R 6 000.00 | no. | 1 | 24.42
12.1 | Allow R 250.00 per PSC members per site meeting attended (5 members) | no. | 1 | 24.42
12.1 | Labor rate of R 203.36 per day per person | no. | 1 | 33
12.1 | ESKOM connection application fee | no. | 1 | 33
12.1 | Training Municipal electricians for maintenance including skills transfer | Provision Sum | 1 | 37.04 | 150000
TOTAL

## SUMMARY
SUMMARY
NO. | DESCRIPTION | AMOUNT
1 | LABOUR RATES AND TRANSPORT | 0
2 | EXCAVATIONS | 0
3 | UNDERGROUND CABLES | 0
4 | GROUND MOUNT EQUIPMENT - minisubs, kiosks | 0
5 | OVERHEAD MAINS | 0
6 to 11 | DISTRIBUTION SYSTEMS GENERl | 0
12 | ELECTRIFICATION OF HOUSEHOLDS | R
| TOTAL | 0

## AnnexC
SATS 1286.2011
Annex C
Local Content Declaration - Summary Schedule
(C1) | Tender No. | [10 empty] | Note: VAT to be excluded from all calculations
(C2) | Tender description:
(C3) | Designated product(s)
(C4) | Tender Authority:
(C5) | Tendering Entity name:
(C6) | Tender Exchange Rate: |  | Pula |  | EU |  | GBP
(C7) | Specified local content %
|  |  |  | Calculation of local content | [5 empty] | Tender summary
| Tender item no's | List of items |  | Tender price - each (excl VAT) | Exempted imported value | Tender value net of exempted imported content | Imported value | Local value | Local content % (per item) | Tender Qty | Total tender value | Total exempted imported content | Total Imported content
| (C8) | (C9) |  | (C10) | (C11) | (C12) | (C13) | (C14) | (C15) | (C16) | (C17) | (C18) | (C19)
(C20) Total tender value
| Signature of tenderer from Annex B | [9 empty] | (C21) Total Exempt imported content
(C22) Total Tender value net of exempt imported content
(C23) Total Imported content
(C24) Total local content
| Date: | [10 empty] | (C25) Average local content % of tender

## AnnexD
SATS 1286.2011
Annex D
Imported Content Declaration - Supporting Schedule to Annex C
(D1) | Tender No. | [7 empty] | Note: VAT to be excluded from all calculations
(D2) | Tender description:
(D3) | Designated Products:
(D4) | Tender Authority:
(D5) | Tendering Entity name:
(D6) | Tender Exchange Rate: |  | Pula |  | EU | 9 | GBP | 12
| A. Exempted imported content |  |  |  |  | Calculation of imported content | [6 empty] | Summary
| Tender item no's | Description of imported content |  | Local supplier | Overseas Supplier | Forign currency value as per Commercial Invoice | Tender Exchange Rate | Local value of imports | Freight costs to port of entry | All locally incurred landing costs & duties | Total landed cost excl VAT |  | Tender Qty | Exempted imported value
| (D7) | (D8) |  | (D9) | (D10) | (D11) | (D12) | (D13) | (D14) | (D15) | (D16) |  | (D17) | (D18)
[13 empty] | (D19) Total exempt imported value | 0
This total must correspond with Annex C - C 21
| B. Imported directly by the Tenderer |  |  | (D11): Calculation of imported content |  | Summary
| Tender item no's | Description of imported content |  | Unit of measure | Overseas Supplier | Forign currency value as per Commercial Invoice | Tender Rate of Exchange | Local value of imports | Freight costs to port of entry | All locally incurred landing costs & duties | Total landed cost excl VAT |  | Tender Qty | Total imported value
| (D20) | (D21) |  | (D22) | (D23) | (D24) | (D25) | (D26) | (D27) | (D28) | (D29) |  | (D30) | (D31)
`
[13 empty] | (D32)Total imported value by tenderer | 0
| C. Imported by a 3rd party and supplied to the Tenderer |  |  | (D24): Calculation of imported content |  | Summary
| Description of imported content |  | Unit of measure | Local supplier | Overseas Supplier | Forign currency value as per Commercial Invoice | Tender Rate of Exchange | Local value of imports | Freight costs to port of entry | All locally incurred landing costs & duties | Total landed cost excl VAT |  | Quantity imported | Total imported value
| (D33) |  | (D34) | (D35) | (D36) | (D37) | (D38) | (D39) | (D40) | (D41) | (D42) |  | (D43) | (D44)
`
[13 empty] | (D45) Total imported value by 3rd party | 0
| D. Other foreign currency payments |  | (D36): Calculation of foreign currency payments |  |  | Summary of payments
| Type of payment |  | (D34): Local supplier making the payment; (D35): Overseas beneficiary; (D36): Foreign currency value paid; (D37): Tender Rate of Exchange |  |  | Local value of payments
| (D46) |  | (D34): (D47); (D35): (D48); (D36): (D49); (D37): (D50) |  |  | (D51)
(D52) Total of foreign currency payments declared by tenderer and/or 3rd party
Signature of tenderer from Annex B
[13 empty] | (D53) Total of imported content & foreign currency payments - (D32), (D45) & (D52) above | 0
This total must correspond with Annex C - C 23
Date:

## AnnexE
SATS 1286.2011
Annex E
Local Content Declaration - Supporting Schedule to Annex C
(E1) | Tender No. |  |  |  | Note: VAT to be excluded from all calculations
(E2) | Tender description:
(E3) | Designated products:
(E4) | Tender Authority:
(E5) | Tendering Entity name:
|  | Local Products (Goods, Services and Works) | Description of items purchased |  | Local suppliers | Value | % of LC
|  |  | (E6) |  | (E7) | (E8)
[5 empty] | (E9) Total local products (Goods, Services and Works) | 0
| (E10) | Manpower costs | ( Tenderer's manpower cost) |  |  | 0
| (E11) | Factory overheads | (Rental, depreciation & amortisation, utility costs, consumables etc.) |  |  | 0
| (E12) | Administration overheads and mark-up |  | (Marketing, insurance, financing, interest etc.) |  | 0
[5 empty] | (E13) Total local content | 0
This total must correspond with Annex C - C24
Signature of tenderer from Annex B
Date: